## Slide 1
SCHOOL OF AUTOMATION
BANASTHALI VIDYAPITH RAJASTHAN
October 2024
PID Controller
A Seminar
On
Submitted by
Taniya Sirohi
(2316995)
Supervised by
Rahul Katiyar
(Assistant Professor)

## Slide 2
Content
Introduction to PID Controller
Problems solved by PID Controller
Components of PID Controller
Mathematical Representation
Tuning Methods
Applications
Industrial Automation
Energy Systems
Advantages
Disadvantages
Conclusion
References

## Slide 3: Introduction to PID Controller
PID refers to the Proportional, Integral, and Derivative.
It is a feedback control system which is used to maintain
a desired output by adjusting the inputs.
It is used to enhance system stability and performance by
adjusting the control actions.
falibert.blosport.com, accessed on september16,2024

## Slide 4: Problems solved by PID controller
Steady-State Error
Slow Response Time
Disturbance and load change
Variable System Dynamics

## Slide 5: Components of PID controller
PID Controller
Proportional Control
Integral Control
Derivative Control

## Slide 6: Mathematical Representation
u(t)=​e(t)+​∫t​e(τ)dτ+d​e(t)/dt
where:
u(t) is the control signal at time t.
e(t) is the error signal at time t (the difference between the setpoint and the process variable).
​ is the proportional gain.
​ is the integral gain.
​ is the derivative gain.

## Slide 7: Tuning Methods
Ziegler-Nichlos Method
Cohen-Coon Method
Trial and Error Method

## Slide 8: Applications of PID controller
Industrial Automation
Energy Systems
Water Treatment

## Slide 9: Industrial Automation
Temperature control
Pressure control
Humidity control
Level control
Flow control
Speed and Position control

## Slide 10: Energy Systems
Renewable Energy Systems
Battery Management System
Hydropower Plants
HVAC Systems

## Slide 11: Advantages of PID controller
Improved System Stability
Error Elimination
Dynamic Response
Reduced Manual Work
Customizable Performance

## Slide 12: Disadvantages of PID controller
Complex Tuning
Sensitive to Noise
Increased Load for Complex Systems

## Slide 13
Conclusion
Widely Used
Error Minimization
Improved Stability
Tuning required
Versatile Application

## Slide 14: References
Jens Graf, 2016, PID Controls Fundamentals
Rames C. Panda, 2012, Introduction to PID Controllers